## Slide 1: Retinal blood vessel segmentation in high resolution fundus photographs using automated features parameter estimation
José Ignacio Orlando1,2, Marcos Fracchia3, Valeria del Río3 and Mariana del Fresno2,3,4
1 Consejo Nacional de Investigaciones Científicas y Técnicas, CONICET, Argentina
2 Instituto Pladema, UNCPBA, Tandil, Argentina
3 Facultad de Ciencias Exactas, UNCPBA, Tandil, Argentina
4 Comisión de Investigaciones Científicas de la Provincia de Buenos Aires, CIC-PBA, Argentina
Universidad Nacional del Centro de la Provincia de Buenos Aires

## Slide 2
Blood vessel segmentation
Current approaches
Our method
Results
Conclusions

## Slide 3
Blood vessel segmentation
Current approaches
Our method
Results
Conclusions

## Slide 4
2D photographs of the retina
  Ophthalmoscope + CCD camera
  Cheapest imaging modality for inspecting the retina
fundus images
Allow non-invasive inspection of the retina

## Slide 5
Characterization of vascular changes due to pathologies
Image-guided surgeries
Multimodal retinal image registration
Segmentation / detection of other anatomical / pathological structures
Biometry
vessel segmentation

## Slide 6
Blood vessel segmentation
Current approaches
Our approach
Results
Conclusions

## Slide 7
Features + classifier
Supervised methods
Unsupervised methods
Features (+ self adaptive methods)
Feature extraction
Key parameters need to be properly adjusted
These parameters depend on the image resolution
Most of the existing approaches were calibrated using low resolution data sets

## Slide 8
How to configure feature extraction?
Computationally expensive
Optimization based on
greedy search strategies
Which model is more suitable for estimating parameters?
How to train the estimator?
Automated estimation of feature parameters
Estimation model

## Slide 9
Automated estimation of feature parameters
Existing approaches
Based on a single data set
Scaling factor to adjust low resolution parameters
Orlando et al., IEEE TBME 2017
Estimation based on
linear regression
Vostatek et al., CMIG 2016
Based on a single image characteristic
Based on multiple data sets
Based on a single image characteristic
DRIVE
STARE

## Slide 10
Blood vessel segmentation
Current approaches
Our approach
Results
Conclusions

## Slide 11
Our method for blood vessel segmentation

## Slide 12
Position kernel to penalize (too) long interactions
Appearance kernel to penalize differences in pixel features
Orlando, J. I., et al. (2017). IEEE TBME.
Orlando, J. I. & Blaschko, M. B. (2014). MICCAI
Blood vessel segmentation method
Fully connected conditional random field model

## Slide 13
feature parameters
Input RGB image
Line detectors
Nguyen. et al. (2013). Pattern Recognition
2D Gabor Wavelets
Soares et al. (2006). IEEE TMI.
Morphological operations
Zana & Klein (2001). IEEE TIP.
Orlando et al., IEEE TBME 2017
Feature extraction
Selected features

## Slide 14
feature parameters
Feature extraction
Relevant feature parameters

## Slide 15
Manual measurement of structural parameters
Approximate calibre of the major vessel
Optic disc diameter
FOV width
Angular resolution
(FOV width / angle of aperture)

## Slide 16
Blood vessel segmentation
Current approaches
Our approach
Results
Conclusions

## Slide 17
HRF
Training
15 images
Test
20 images
Materials
Parameter estimation
Model evaluation
Training
20 images
DRIVE
CHASEDB1
Training
8 images
STARE
Training
10 images
ARIA
Training
55 images

## Slide 18
Parameter estimation
Morphological operations
2D Gabor wavelet

## Slide 19
Line detectors
Fully connected CRF
Parameter estimation

## Slide 20
Quantitative evaluation
State of the art performance as evaluated in terms of global metrics

## Slide 21
Qualitative evaluation
Improvement in vessel connectivity and detection of narrow vessels
Scaling factor to adjust low resolution data sets
Automated estimation of feature parameters

## Slide 22
Qualitative evaluation
Artifacts due to the bright central reflex in arteries removed
Scaling factor to adjust low resolution data sets
Automated estimation of feature parameters

## Slide 23
Qualitative evaluation
Artifacts due to the bright central reflex in arteries removed
Scaling factor to adjust low resolution data sets
Automated estimation of feature parameters

## Slide 24
Blood vessel segmentation
Current approaches
Our approach
Results
Conclusions

## Slide 25
conclusions
A method for estimating feature parameters was presented
Such an approach was evaluated for segmenting vessels in high resolution fundus photographs
State of the art performance was obtained on a benchmark data set
Results indicate that the method is robust for estimating feature parameters
Linear regression is not suitable for estimating the interaction parameter of the FC-CRF
We took advantage of our method for blood vessel segmentation based on learning FC-CRFs using a SOSVM
As evaluated in terms of global accuracy measurements such as the F1-score and MCC

## Slide 26
Thank you!
Any questions?
This work is partially funded by
NVIDIA hardware grant, ANPCyT PICT 2014-1730, PICT 2016-0116 and PICT start-up 2015-0006

## Slide 27: Retinal blood vessel segmentation in high resolution fundus photographs using automated features parameter estimation
José Ignacio Orlando1,2, Marcos Fracchia3, Valeria del Río3 and Mariana del Fresno2,3,4
1 Consejo Nacional de Investigaciones Científicas y Técnicas, CONICET, Argentina
2 Instituto Pladema, UNCPBA, Tandil, Argentina
3 Facultad de Ciencias Exactas, UNCPBA, Tandil, Argentina
4 Comisión de Investigaciones Científicas de la Provincia de Buenos Aires, CIC-PBA, Argentina
Universidad Nacional del Centro de la Provincia de Buenos Aires

## Slide 28
Joachims, T., Finley, T., & Yu, C. N. J. (2009). Cutting-planes training of structural SVMs. Machine Learning.
s.t.
1-slack SOSVM with margin rescaling
Cutting planes approach to solve the minimization problem
Blood vessel segmentation method
Structured output support vector machines (SOSVM)
Orlando, J. I., et al. (2017). IEEE TBME.
Orlando, J. I. & Blaschko, M. B. (2014). MICCAI
CRF weights are learned by means of a SOSVM
Unary potentials
Bias term
Pairwise
potentials